## Slide 1: Sample paths through facility:
RNA QC1
Prep
QC1
QC2
sequencing
Libraries (=made of DNA too)
QC1
QC2
sequencing
Input material (=facility prep)
user prep
DNA QC1
Prep
QC1
QC2
sequencing

## Slide 2: QC 1 – Qubit & FA
QC -> data accessibility problem we use our individual “lab-journal excel file” to record -all measurements -all calculations for dilutions
Fsk upload: currently available forms  forms used in QC upload data via or file
csv
csv
FA
FA
FA
csv
FA

## Slide 3: QC 1 – Qubit & FA: processing workflow & important values
RNA Qubit (Fsk: concentration, vol) FA (Fsk: profile, RIN, DV200)
DNA Qubit (Fsk: concentration, vol) FA (Fsk: profile, %in smear) prepare input plate (Fsk: ng input, vol)
Libraries Qubit (Fsk: concentration, dilution) FA (Fsk: profile, size, molarity)
(next: qPCR in QC2)
csv
csv
csv
FA
FA
FA
+Library QC (after prep)
+Library QC (after prep)

## Slide 4: QC 1 – forms to be created
Fsk upload: currently available forms: forms used in QC
csv
csv
FA
FA
FA
proposed forms: Illumina Forms
Cell Quantification RNA Qubit RNA FA DNA input Qubit DNA input FA Preparation cDNA Synthesis Library Qubit Library FA qPCR
csv
csv
csv
FA
FA
FA

## Slide 5: QC 1 – RNA Qubit
RNA Qubit: import from  grab from import file: sample ID and conc, rest of the form empty or grabbed from database  flag “dilute” to be set automatically IF tab5 >200  form does not exist yet, can be derived from “DNA input Qubit”
 To store Qubit conc & volume and prepare sample for FA
csv
factor
Conc of diluted sample
0.12
10
BR RNA Qubit
BR RNA Qubit
c5: From csv
c6: Filled by us
c2: From csv
c3: Automatic from database
c4:Automatic from database
c7: Auto-calc:
(=c5*c6)
c8: Filled by us, default=1
c9: Auto-calc:
(=c5/c8)
Qubit
Flag dropdown:
-unknown
-ok
-warning
-Not enough material
-dilute
c10: dropdown
c11
c12: tickbox
c13: text

## Slide 6: QC 1 – RNA FA
RNA FA: import from  RIN, DV200 and FA conc imported from FA-csv-file  dilution factor & Volume grabbed from Qubit form but dilution factor with option to change & fill manually?  DV200 does not work every time (bug)  to store quality measures from FA run and evaluate sample
FA
Original conc
FA
c2: From FA file
c3: Automatic from database
c5: From FA file
c6: From FA file
c7: From FA file
c8: grab from RNA Qubit form c8
c9: Auto-calc:
(=c7*c8)
c10: grab from RNA Qubit form c6
c11: Auto-calc:
(=c9*c10)
Flag dropdown:
-unknown
-ok
-warning
-Not enough material
-RIN
-DV200
-pattern mismatch
-DNA Contamination
-degradation
Preparation type
c4: Automatic from database
c4a: Automatic from database
c13
c14: tickbox
c15: text
c12: dropdown

## Slide 7: QC 1 – DNA input Qubit
DNA input Qubit: import from -> from import file: sample ID and Qubit conc, rest of the form empty or filled from database -> targeted FA conc to be filled by me, can be pre-filled with 2.5, but editable -> sample vol: we want to waste as little material as possible for dilution for FA, ideally only 1ul, but editable in case it needs to be 2ul -> To store Qubit conc & volume and prepare sample for FA
csv
2.5
Water to add
1
resultingdilution factor
1
c2: From csv file
c3: Automatic from database
c5: From csv
c6: Filled
by us
c7: Auto-calc:
(=c5*c6)
c8: filled by us, default=empty
c9: filled by us, default=1
c10: auto-calc: (=(c5/c8)-c9)
c13
c14: tickbox
c15: text
c11: auto-calc:
(=c5/c8)
c12: dropdown
Flag dropdown:
-unknown
-ok
-warning
-Not enough material
Qubit
Preparation type
c4a: Automatic from database
c4: Automatic from database

## Slide 8: QC 1 – DNA input FA
DNA input FA: import from -> from import file: sample ID, FA conc, range ratio%, smear (x-y bp) -> then grab dilution factor used from Qubit file  to store quality measures from FA run and evaluate sample
FA
FA conc
1000-180000
Smear (bp)
dilution factor used
5
FA conc original
8.5
Preparation type
=8.5*93.4/100
Flag dropdown:
-unknown
-ok
-warning
-Not enough material
-size mismatch genomic
-size mismatch ligation
-size mismatch ChIP-Seq
c2: From FA file
c3: Automatic from database
c5: From
FA file
c6: From
FA file
c7: From
FA file
c8: grab from DNA Qubit form c11
c9: auto-calc:
(=c5*c8)
c12
c13: tickbox
c14: text
c11: dropdown
c10: auto-calc:
(=c9*c6/100)
c4: Automatic from database
c4a: Automatic from database

## Slide 9: QC 1 – Library Qubit
Library Qubit: import from -> from import file: sample ID and conc -> -> targeted FA conc to be filled by me (default empty, but editable!) -> targeted sample vol should be prefilled with vol according to readmode, but editable -> readmode grabbed from fsk (always grab parent request!!, or list all of them if more?) -> sample vol and buffer vol field calculated by Fsk but editable in case we physically dilute differently (for documentation reasons)!!!! -> undiluted? for traceability, is it undiluted? With tickbox if tickbox is ticked= c10 and c11 should be wiped/empty
 To store Qubit conc and prepare sample for FA
csv
Experiment type
amplicon
Targeted Sample
vol (ul)
30
Undiluted?
c2: From csv file
c3: Automatic from database
c4: Automatic from database
c5: Automatic from database
c6: From csv
Qubit
c7: filled by us, default=empty
c8: Auto-matic from data- base, but editable
c9: Auto-matic from data-base
c10: Auto-calc: (=c6/(c7*c8) editable
c11: Auto-calc: (=c8-c10)
c14
c15: tickbox
c16: text
c13: dropdown
c12: tickbox
Flag dropdown:
-unknown
-ok
-warning
-Not enough material

## Slide 10: QC 1 – Library FA – pt1
Library FA: import from
-> median size, exp size, req. size, molarity calculated  to store average size from FA run and evaluate sample
FA
amplicon
c2: From FA file
c3: Automatic from database
c4: Automatic from database
c5: Automatic from database
c6: From
FA file
c7: From
FA file
c8: From
database
c9: From
database
c10: autocalc from c6 & c7
…see next slide
Experiment type

## Slide 11: QC 1 – Library FA – pt2
Library FA: import from
-> targeted qPCR conc (11) to be filled by me (can be prefilled with 6, but editable!) -> targeted sample vol (12) to be filled by me (can be prefilled with vol according to readmode) -> readmode grabbed from fsk (always grab parent request if there is, or list all of them if more?) -> sample vol and buffer vol field calculated by Fsk with (6), (11), (12) but editable in case we physically dilute differently (for documentation reasons) -> undiluted? for traceability, is it undiluted? Tickbox! -> pooling strategy (either FA or qPCR)
FA
Pooling strategy
qPCR
c11: Autofill to 6, but editable
c12: Automatic from database
c15: Auto-calc: (=c12-c14)
c13: Automatic from database
c14: Auto-calc: (=c6/(c11*c12)
c18: dropdown
c16: tickbox
Flag dropdown:
-unknown
-ok
-warning
-Not enough material
-pattern mismatch
-adapter dimers
-multiple peaks
->30% over 1000bp
c17: Auto-matic from data-base
c14
c15: tickbox
c16: text
…
Targeted for qPCR [nM]

## Slide 12: Other forms:
cDNA & preparation form update: show qubit and FA concentrations alongside for comparison input vol is calculated using which one??

## Slide 13: cDNA Synthesis
cDNA form update: show qubit and FA concentrations alongside for comparison input vol is calculated using FA conc (if possible: deduct from volume IF there were cDNA forms created before) well position from submission plate?
FA
c5-Automatic from database
c6: Automatic RNA Qubit form c5
c7: Automatic RNA FA form c7
c8: automatic from RNA Qubit c6, with deduction (minus value c9)
c2: loads after typing into box below
c3: Automatic from database
c4: Automatic from database
Request ID (for Wells coordinates)
B10
c9: calculated using c10 & c7
c10: calculated using c9 & c7
c11b: automatic from database
Flag dropdown:
As it is now
c12: dropdown
c13
c14: tickbox
c15: text
Well position submission plate
c11a: from DB

## Slide 14: Preparation form
Preparation form for DNA update: show qubit and FA + effective conc & effective concentration alongside for comparison input vol is calculated using Qubit value
c8: Automatic from DNA input Qubit form c5
c9: Auto-matic from DNA input FA form c9
c10: Automatic from DNA input FA form c10
c2: loads after typing into box below
c3: Automatic from database
c4: Automatic from database
c5: dropdown
c6: dropdown
c7: dropdown
c11: calculated using c8 & c12
c12: calculated using c8 & c11
c13
c14: text
c18: text
c15: dropdown
c17: tickbox
c14
Flag dropdown:
As it is now

## Slide 15: QC 1 – automatic emails
Make them a 2nd step package – but lay the groundwork for it to work (like form-specific flags?)
Questions: - when to trigger the email? (upon status change?) - is it worth to keep the written PDF own risk sheet format? Or should we switch to an online version? Like a application that allows the PI to open a window that shows all the open cases for own risk in the group & PI can give confirmation by click from own profile?
Ideas: - On multiplex status  On Hold  triggers email with accumulated list of samples with problems and problem description - Automatic email for status change can stay

## Slide 16
Connectivity of Forms:
Always latest values from the database if various versions are saved/available
Possibility of being overwritten manually by admin
Refresh button to make sure the latest values are loaded
Plate-Well-Information:
- Save information of well coordinates in sample/request combination at plate generation step in database
- this is necessary if plates are partially re-submitted and old ones partially re-used

## Slide 17: Legend
c<number> = column number
c<number> in calculations: values in this columns should be used for calculations
Green border = new or changed column
Red border = column exists this way in this or in another form